# Office Ergonomics:

# Australian Standards and Guidelines

## Work Surface Area (AS/NZS 4443:1997)

The following requirements apply:

(a) 	The work surface area should be adequate for the tasks to be performed at the workstation. It should be large enough to accommodate a screen, keyboard and associated equipment, and leave enough room for writing and for the resting of hands and arms. The workstation should also be large enough to permit items used regularly to be within easy reach of the operator from the normal operating position.

(b) 	For single task operations (eg keyboard work), the work surface shall have minimum dimensions of 1200 mm X 800 mm.

(c)	For mixed tasks (eg keyboard and clerical work) the work surface shall have minimum dimensions of 1600 mm X 800 mm.

## Work surface height(AS/NZS 4443:1997)

- Adjustable including a range from 610 to 760mm

- Fixed height, 700-720 preferred but can be as low as 680mm

## Workplace and Workstation Layout

(National Standard on Manual Handling, NOHSC)

4.9 The layout should permit the employee:

(a) to adopt an upright and forward facing posture

## Working Posture and Position

(National Standard on Manual Handling, NOHSC)

4.12 During manual handling, bending, and/or twisting of the spine should be avoided, especially when it is prolonged or repetitive

## Office Space

(Guidance Note for the Prevention of Occupational Overuse Syndrome in Keyboard Employment, NOHSC)

Sufficient space should be provided to allow safe and easy access to and from workstations. The layout of furniture and equipment and allocation of space, needs to be considered carefully to optimise:

- Efficiency and comfort

- Privacy and security

- Communication and work flow

- Unconstrained work postures and body movement

- Flexibility and individual control

- Social interaction

…. Keyboard working positions should follow these fundamental principles:

- The feet must be firmly and comfortably supported either on the floor or on a footrest

- There must be ample room to move the legs

- The thighs must be adequately supported and the underside of the thighs should not be compressed by the seat edge

- The natural curvatures of the spine should be maintained and excessive twisting and bending of the spine should be avoided

- Frequent or continuous bending and rotation of the neck should be avoided

- Shoulders should be comfortable and relaxed

- Elbows should be close to the body and the elbow angle should be around 90 degrees

- Frequent or continuous bending of the wrist (upwards, downwards or sideways) should be avoided

## Work Surface Finish (AS/NZS 4443:1997)

The work surface should be a light colour and have a matt finish

## Leg Space (AS/NZS 4443:1997)

The following requirements apply:

(a)	Sufficient space should be provided under the work surface to allow free leg movement without obstruction.

(b)	The minimum knee space shall be 650 mm wide and 450 mm deep. For fixed height work surfaces the minimum height of the knee space shall be 645 mm.

(c)	Leg space depth front to back measured at a distance above the floor of 120 mm shall be a minimum of 600 mm. Leg space depth should be available over the full 650 mm width.

## Office Chairs

Office chairs should comply with the Australian Standard (AS/NZS 4438:1997). NOHSC (Ergonomic Principles and checklists for the selection of office furniture and equipment, Ergonomics Unit, NOHSC) makes the following recommendations:

Chairs and seating should be primarily designed to provide adequate support for the user, without placing unnecessary stress on any part of the body. They should encourage a posture, which allows for comfort, efficiency, and minimal muscle fatigue.

There are three major anatomical/ physiological factors, which need to be considered in sitting posture:

- The posture of the spine

- The type and amount of muscle work required to maintain comfortable postures

- Compression of the tissues (particularly blood vessels and nerves) at the back of the thigh and behind the knee)

Chairs, considered suitable for the duties completed at the office, are classified as multi task chairs or keyboard operator chairs (AS/NZS 4438:1997, p 10). They should have the following features:

- Adjustable seat height

- Adjustable back rest height

- Adjustable lumbar support

- Seat tilt

- A medium back rest, unless otherwise specified

- No arm rests

- The chair should have gas adjustments rather than manual adjustments. Lever adjustments are preferred and should be easily operated from the seated position

Chairs should be adjusted easily from the seated position. Lever gas lift adjustment is preferable. Armrests should not be used unless requested specifically by the user, as they can restrict access to the workstation. If armrests are requested, height adjustable armrests would be preferable. Executive type chairs with no option for separate backrest adjustment are not suitable for screen-based work. They may be suitable where mixed tasks are complete with only a small amount of screen based tasks.

## Footrests

When working at a non-height adjustable desk, footrests should be used. Some but not all staff observed at the review, were using footrests. Staff who are not using a footrest and have insufficient foot support while seated at their desk should be supplied with one according to the criteria listed below.

The footrest should have the following features

- Wide enough to support both feet and allow change of position

- Stability

- Upper and lower surfaces should not be slippery

- A variety of heights should be available

Temperature, Humidity and Ventilation

The preferred work temperature in Australia is 20-26 degrees Celsius but 2 degrees lower in winter.  Humidity refers to the amount of water vapour in the air.  The optimum comfort range ofr relative humidity is 40-60 per cent.  Ventilation refers to the movement of air and rate of fresh air input.  Air movement should be between 0.1 and 0.2 metres per second.  For each person a minimum rate of 5-10 litres per second per person for general office space or 10 litres per second for every 10 square metres of floor space is recommended.

Lighting

Illumination is measured in units of LUX – lumens per square metre.  Suitable light levels based on AS 1680.1:1990: Interior lighting – General principles and recommendations are:

- General background			160-240 lux

- Routine office work (typing, filing)	400 lux

- Work with poor contrast (proof reading)	600 lux

Light should fall from the side rather than from the front to avoid reflections on the work surface.  The sides of desks should be parallel with fluorescent strip lighting.  Avoid strongly contrasting lighting levels.  Lights deteriorate with age and accumulate dirt over the surface.  It is advisable to ensure that lights are cleaned at regular intervals, at least every 6-12 months.

Noise

The legal requirements are that workers are not exposed to more than 85 dB(A) of noise over an either hour period.  Noise in an office environment is not likely to exceed 65-75 dB(A) but can have an adverse effect at this level.

Exposure to noise produces, raised blood pressure, acceleration of heart rate, contraction of blood vessels of the skin, increase in metabolism, slowing down of digestive organs and increased muscular tension.

Background noise levels have been shown to have a detrimental effect on complex mental activities as well as the performance of activities requiring high levels of skill and the interpretation of information as well as the ability to learn certain kinds of dexterity.

## Examples of Workstation Layouts

FIGURE 1 (b) EXAMPLES OF WORKSTATION LAYOUTS FOR SBE AND MIXED TASKS					Reference: AS/NZS 4443:1997

# References

Grandjean, E. 1988, Fitting the task to the Man, London: Taylor & Francis

Office Design at Work: An Occupational Health and Safety Working Environment, AGPS 1983

Officewise: Guide to Health and Safety in the Office, Comcare Australia 1996

Standards Australia, AS/NZS 4438:1997 Height adjustable swivel Chairs, Homebush 1997

Standards Australia, AS/NZS 4442:1997 Office Desks, Homebush 1997

Standards Australia, AS/NZS 4443:1997 Office Panel Systems – Workstations, Homebush 1997

Worksafe Australia, Ergonomics Unit, Ergonomic Principles and Checklists for the Selection of Office Furniture and Equipment, NOHSC 1991

Worksafe Australia, Guidance Note for the Prevention of occupational Overuse Syndrome in Keyboard Employment, NOHSC 1996

Worksafe Australia, Manual Handling, National Standard, NOHSC 1990

WorkCover Authroity of NSW. Health and Safty in the Office. Guide 2004

# Footnotes

Guidance note for the prevention of occupational overuse syndrome in keyboard employment